Intelligent Video Recorder

10CH 4K Smart NVR

NL-NV10





Smart 265 ONVIF SLINK IMS APP



Modify Light Mode Human Detect Vehicle Detect Retrograde Absent Alarm



**Introduction:**

 Support Smart 265 and HTML5 latest technology, support 10 CH 4K IP camera input and output, support smart analysis IPC, 4CH 1080P playback, 1 pcs HDD (max 16TB), 1CH VGA, 1 CH HDMI, support to upgrade IPC remote, modify IP camera address and light board parameters, support audio, support P2P, 2 pcs USB port

**Features：**

● Support 10 Channels IPC input（8MP/D1+10 CH Preview+4CH playback）

● Support samrt 265, H265,H264 compression format

● Support synchronized recording,remote view,backup recording in MP4 format, mobile view

● Support VGA/HDMI● Support preview image and playback image electronic amplification● Support RTSP,GB28181, ONVIF protocol

● Support RTMP stream push, support DDNS,UPNP...etc● Support alarm capture,send alarm information by email ● Support WEB, mobile view,IMS surveillance● Support IPC smart analysis:motion detection,alarm input, human detection,area intrusion, line crossing detection,loitering detection, absent alarm, vehicle illegal parking,retrograde detection● Support channel patrol grouping●Support network inspection-network traffic monitor, network-detect packet,network diagnosis..etc● Support max 4CH 1080P playback

● Support 10CH 4K decode and 4K display output

● Support HTML5 remote login operation

● Support to add IPC manually or automatically in LAN

● Support to upgrade IPC online and by memory

● Support to maintain IPC under private protocol, including restore, restart, enable or disable all network function

● Support disconnected network supplement function, optimize bandwidth incoming up to 64M

**Specification：**

|  |  |
| --- | --- |
| System  | Embedded LINUX design, pure hard decoding, watchdog, hard disk storage, HDMI HD display, IP network video access |
| Video Input | HD IPC input, support dual code stream access for each IPC, support auto search, auto add, auto recording, auto preview, and realize zero debugging |
| Incoming bandwidth 64Mbps; |
| Video Output | 1CH HDMI output,1CH VGA output,Same origin as HDMI;resolution:3840×2160,1920×1080,1440×900,1280×1024,1280×800,1024×768 |
| Support IMS preview , support APP preview |
| Support split,1/2/4/6/8/9/10 realtime preview |
| Recording resolution | Support 720P/960P/1080P/3MP/4MP/5MP/4K |
| Video Decoding Parameters | Support Smart265/H.265/H.264 decode |
| NVR playback 4 CH (1\*4K) ; max support 4 CH playback on IMS |
| Audio | G.711; support HDMI audio output,support audio output（3.5mm hole), support audio/recording with audio preview and playback on IMS |
| Storage Management | 1 pcs SATA port, max support 16TB HDD |
| Support timing recording, alarm recording, timing and alarm recording; alarm recording includes (motion detection, alarm input, human detection, line-crossing detection, area intrusion, personnel linger, absent alarm, vehicle parking violation, and vehicle retrograde) |
| Support the backup of external USB storage devices (such as ordinary USB flash disk and mobile hard disk) |
| User Management | Max support 32 users |
| Network Port | 1 pcs RJ45 port, support 10/100M self-adaptive; support TCP/IP,IPv4,DHCP,NTP,RTSP,ONVIF,P2P,SMTP, GB28181...etc network protocol; |
| Peripheral Port | 2 pcs USB2.0 port(rear ); support mouse, USB upgrade, import and export |
| Alarm Port | No |
| Front Panel | Support 3 kinds of indicator light, including power, recording, data transfer  |
| Buzzer | Support buzzer alarm |
| Function | Support preview/recording/transfer/remote service, support alert linkage, support IMS monitor software, support P2P cloud service |
| Working Temperature | -10℃～＋55℃ |
| Working Humidity | 10%～90% |
| Power Consumption | DC +12V/2A ,≤2W power consumption (without HDD) |
| Size (mm) | Size 210\*255\*42mm(W×D×H), support wall installation |
| Weight（Ｋg) | N.W.: 0.9Kg; G.W: 1Kg（No HDD）  |
| Package | 10 pcs/CTN 610mm×380mm×340mm; weight: 10KG |

**Size**



